## Sheet
Level | 1 | 2 | 3 | Item | Description | Revision | Quantity | FromDate | SupplyType
1 | 1 |  |  | 34413004 | SE ARMOIRE SAREL SFN H1400 L600 P600 STS60 3P ETO 415V _ OFFRE 252584/01 | 1 | 1 | 29/10/2024 | Push
1 | 1 |  |  | 870-51027840AM-001 | COVER TOP H=1400 STS ANTHRACITE BLACK | xx | 1 | 19/11/2024 | Push
1 | 1 |  |  | + USTSQ-IND100HZ3 | BOM MAN PRODUCT DEFINITION 0M-STSU100HZ3 | xx | 1 | 19/11/2024 | Phantom
1 | 1 |  |  | 827-0246 | GROMET/FEEDTHROUGH SLEEVE82X52X11 | xx | 1 | 19/11/2024 | Bulk
1 | 1 |  |  | 34412980 | SMT SUPPORT PLASTRON HAUT RAL9003 | 1 | 1 | 19/11/2024 | Push
1 | 1 |  |  | 34412981 | SMT SUPPORT PLASTRON BAS RAL9003 | 1 | 1 | 19/11/2024 | Push
1 | 1 |  |  | 34413024 | SMT CORNIERE AVANT GAUCHE RAL9003 | 1 | 1 | 19/11/2024 | Push
1 | 1 |  |  | 34413025 | SMT CORNIERE AVANT DROITE RAL9003 | 1 | 1 | 19/11/2024 | Push
1 | 1 |  |  | 34413026 | SMT CORNIERE ARRIERE GAUCHE | 1 | 1 | 19/11/2024 | Push
1 | 1 |  |  | 34413027 | SMT CORNIERE ARRIERE DROITE | 1 | 1 | 19/11/2024 | Push
1 | 1 |  |  | 34413028 | PLA CUSTOMER CONNECTION COVER | 1 | 1 | 19/11/2024 | Push
1 | 1 |  |  | 34411878 | SMT LATERAL UPRIGHT | 1 | -2 | 2024-02-12 | Assembly Pull
1 | 1 |  |  | 34412179 | SMT MONTANT STS 250 RAL9003 | 1 | -2 | 2024-02-12 | Assembly Pull
1 | 1 |  |  | 34412180 | SMT TRAVERSE STS 250 RAL9003 | 2 | -2 | 2024-02-12 | Assembly Pull
1 | 1 |  |  | 870-51027842AK-001 | UPRIGHT FR1800 100/250A ANTHRACITE BLACK | xx | -1 | 2024-02-12 | Assembly Pull
1 | 1 |  |  | 34411901U | TOIT STS 100-250 SAREL | 1 | -1 | 2024-02-12 | Push
1 | 1 |  |  | 34411903U | Panneau AR SAREL-STS Std 100-630A | 1 | -1 | 2024-02-12 | Assembly Pull
1 | 1 |  |  | 34411904U | Panneau LAT SAREL-STS Std 100-630A | 1 | -2 | 2024-02-12 | Assembly Pull
1 | 1 |  |  | 870-51027841AM-001 | CVER TOP H=1900 100/250A ANTHRACITE BLCK | xx | -1 | 2024-02-12 | Push
1 | 1 |  |  | 34411902 | SAREL SF-H1900xL700xP800-STS STD | 2 | -1 | 2024-02-12 | Assembly Pull
1 | 1 |  |  | UNC6-NSYCAG223LPF | OUTLET VENTILATION GRID 223X223 RAL 7035 IP54 | xx | -2 | 19/12/2024 | Push
1 | 1 |  |  | 0M-3402011500AD | ASSY SHOE STS 500X600 H=1400 | xx | 2 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 0M-3402014000 | SHUT OFF MODULE 100-250A STS | xx | 1 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 0M-5102778000AB | ASSY RAIL ELECTRON CDE STS 100/250A | xx | 2 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 0M-5102778700AE | ASSY SUPPORT SSW 100/250A STS | xx | 2 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 0M-5102781800AF | ASSY SIDE BY-PASS 100/250A STS | xx | 2 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 0M-5102822000AJ | SUPPORT ASSY FOOT PW | xx | 4 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 0M-5103047900AB | FRAME SAREL 500X600 | xx | 2 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 0W1-5102768300AF | WIRE INTEGRATION KIT 100-250A | xx | 1 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 1503858 | ROND PL M12 AC ZNC | xx | 4 | 17/12/2012 | Bulk
1 | 1 |  |  | 5102826300AA | MOUNT SCREW. CADR | xx | 8 | 17/12/2012 | Bulk
1 | 1 |  |  | 652-0094 | ROSE FASTENER/CLAMP SHEATH | xx | 4 | 17/12/2012 | Bulk
1 | 1 |  |  | 803-5102826100AD | M8 TOGGLE NUT | xx | 50 | 31/05/2013 | Bulk
1 | 1 |  |  | 830-0469 | SPACER M/F M6 L30 | xx | 4 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 830-5103062800AD | SPACER M12-M6 H19 | xx | 4 | 17/12/2012 | Bulk
1 | 1 |  |  | 861-0042 | RIVET PLASTIC ROUND HEAD 3.6X7 | xx | 8 | 17/12/2012 | Bulk
1 | 1 |  |  | 870-3402012000AB | BALLASTING PART | xx | 4 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 870-5102797900AC | SUPPORT POWER CONNECTION STS 100-250A | xx | 1 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 870-5102812200AA | UPRIGHT AUXILIARY H=1300 | xx | 4 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 870-5102825900AA | HINGE ALTO | xx | 2 | 17/12/2012 | Bulk
1 | 1 |  |  | 870-5102826000AA | FIXING PIECE ALTO COVER | xx | 6 | 17/12/2012 | Bulk
1 | 1 |  |  | 870-5102826400AA | HINGE PIN DIAM 6 LENGTH 65 | xx | 2 | 17/12/2012 | Bulk
1 | 1 |  |  | 872-3400572800AA | DIFFUSING COVER 1000X900 | xx | 1 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 880-5102782000AE | BUSBAR ALU PEN STS 100-250A | xx | 1 | 17/12/2012 | Assembly Pull
1 | 1 |  |  | 885-6765034A | LABEL ZERO DEFAULT 2 | xx | 1 | 17/12/2012 | Bulk
1 | 1 |  |  | HUA14593 | Screw MSC HXG M8 x 60mm STL | xx | 4 | 17/12/2012 | Bulk
1 | 1 |  |  | 803-0468 | NUT M4 FLANGED SERRATED HEX BLK | xx | 2 | 31/05/2013 | Supplier
1 | 1 |  |  | 803-0984 | ROTATING CAGE NUT M6 | xx | 2 | 31/05/2013 | Bulk
1 | 1 |  |  | 21380151 | Screw TFSC MA HXL SK ST5 x 18mm STL | xx | 4 | 2013-09-07 | Bulk
1 | 1 |  |  | 25274102 | SUPPORT POUR CABLE/NAPPE | xx | 2 | 14/08/2013 | Bulk
1 | 1 |  |  | 25274103 | SUPPORT POUR CABLE/NAPPE | xx | 2 | 14/08/2013 | Bulk
1 | 1 |  |  | 21253110 | NUT DIN 934 M10 STL 8 ZN8CR3 | xx | 4 | 2013-09-07 | Bulk
1 | 1 |  |  | 21130006 | Blind Rivet R HD 6.5mm x 14.1mm S.STL | xx | 2 | 2013-05-07 | Bulk
1 | 1 |  |  | 861-0381 | RIVET MONOBOLT | xx | 2 | 2018-04-10 | Bulk
1 | 1 |  |  | HUA14612 | Screw MSC HXG M12 x 50mm STL | xx | 4 | 2013-08-10 | Bulk
1 | 1 |  |  | HUA14672 | Screw MSC HXG M8 x 20mm STL | xx | 29 | 2013-08-10 | Bulk
1 | 1 |  |  | HUA11406 | Washer SD CON SPRG Teeth M8 x 16mm x 1.4 | xx | 8 | 26/09/2013 | Bulk
1 | 1 |  |  | HUA12757 | Washer SD CON SPRG Teeth M10 x 20 mm x 1 | xx | 4 | 20/01/2014 | Bulk
1 | 1 |  |  | HUA11450 | SCREW MSC HXG M6 X 16 STL | xx | 2 | 2013-04-11 | Bulk
1 | 1 |  |  | HUA12624 | Washer PL WSH M6 x 14 mm x 1.2 mm STL | xx | 2 | 20/01/2014 | Bulk
1 | 1 |  |  | 21380186 | Screw TFSC MA HXL SK ST6 x 10mm STL | xx | 8 | 21/10/2013 | Bulk
1 | 1 |  |  | 21542188 | VAM CS M6X16 POLYAMIDE N | xx | 2 | 2013-02-12 | Bulk
1 | 1 |  |  | HUA12780 | Washer PL WSH M8 x 16 mm x 1.5 mm STL | xx | 8 | 20/01/2014 | Bulk
1 | 1 |  |  | HUA12053 | Washer SD CON SPRG M8 x 18 mm x 1.4 mm S | xx | 4 | 2013-07-11 | Bulk
1 | 1 |  |  | 803-1200A | NUT M12 HEX STEEL DIN934 59553 ROHS | xx | 4 | 2013-10-07 | Bulk
1 | 1 |  |  | 870-3402013900AE | SHEET SHUT OFF MODULE 100-250A | xx | 1 | 2013-10-07 | Supplier
1 | 1 |  |  | 872-0953 | ALU LAM 0M-STSU250HY4 | xx | 0 | 2013-10-07 | Bulk
1 | 1 |  |  | HUA12587 | Washer SD CON SPRG M5 x 12mm x 1.1mm STL | xx | 4 | 2013-10-07 | Bulk
1 | 1 |  |  | HUA12746 | Washer SPRG WSH M12 x 24mm x 1.8mm STL | xx | 4 | 2013-10-07 | Bulk
1 | 1 |  |  | 811-0063 | Washer SD CON SPRG Teeth M8 x 16mm x 1.4 | xx | 8 | 26/01/2018 | Supplier
Note on E2: Item 34413004 was added in bom2 (not present in bom1)
Note on E3: Item 870-51027840AM-001 was added in bom2 (not present in bom1)
Note on E4: Item + USTSQ-IND100HZ3 was added in bom2 (not present in bom1)
Note on E5: Item 827-0246 was added in bom2 (not present in bom1)
Note on E6: Item 34412980 was added in bom2 (not present in bom1)
Note on E7: Item 34412981 was added in bom2 (not present in bom1)
Note on E8: Item 34413024 was added in bom2 (not present in bom1)
Note on E9: Item 34413025 was added in bom2 (not present in bom1)
Note on E10: Item 34413026 was added in bom2 (not present in bom1)
Note on E11: Item 34413027 was added in bom2 (not present in bom1)
Note on E12: Item 34413028 was added in bom2 (not present in bom1)
Note on E13: Item 34411878 was added in bom2 (not present in bom1)
Note on E14: Item 34412179 was added in bom2 (not present in bom1)
Note on E15: Item 34412180 was added in bom2 (not present in bom1)
Note on E16: Item 870-51027842AK-001 was added in bom2 (not present in bom1)
Note on E17: Item 34411901U was added in bom2 (not present in bom1)
Note on E18: Item 34411903U was added in bom2 (not present in bom1)
Note on E19: Item 34411904U was added in bom2 (not present in bom1)
Note on E20: Item 870-51027841AM-001 was added in bom2 (not present in bom1)
Note on E21: Item 34411902 was added in bom2 (not present in bom1)
Note on E22: Item UNC6-NSYCAG223LPF was added in bom2 (not present in bom1)
Note on E23: Item 0M-3402011500AD was removed in bom2 (present in bom1)
Note on E24: Item 0M-3402014000 was removed in bom2 (present in bom1)
Note on E25: Item 0M-5102778000AB was removed in bom2 (present in bom1)
Note on E26: Item 0M-5102778700AE was removed in bom2 (present in bom1)
Note on E27: Item 0M-5102781800AF was removed in bom2 (present in bom1)
Note on E28: Item 0M-5102822000AJ was removed in bom2 (present in bom1)
Note on E29: Item 0M-5103047900AB was removed in bom2 (present in bom1)
Note on E30: Item 0W1-5102768300AF was removed in bom2 (present in bom1)
Note on E31: Item 1503858 was removed in bom2 (present in bom1)
Note on E32: Item 5102826300AA was removed in bom2 (present in bom1)
Note on E33: Item 652-0094 was removed in bom2 (present in bom1)
Note on E34: Item 803-5102826100AD was removed in bom2 (present in bom1)
Note on E35: Item 830-0469 was removed in bom2 (present in bom1)
Note on E36: Item 830-5103062800AD was removed in bom2 (present in bom1)
Note on E37: Item 861-0042 was removed in bom2 (present in bom1)
Note on E38: Item 870-3402012000AB was removed in bom2 (present in bom1)
Note on E39: Item 870-5102797900AC was removed in bom2 (present in bom1)
Note on E40: Item 870-5102812200AA was removed in bom2 (present in bom1)
Note on E41: Item 870-5102825900AA was removed in bom2 (present in bom1)
Note on E42: Item 870-5102826000AA was removed in bom2 (present in bom1)
Note on E43: Item 870-5102826400AA was removed in bom2 (present in bom1)
Note on E44: Item 872-3400572800AA was removed in bom2 (present in bom1)
Note on E45: Item 880-5102782000AE was removed in bom2 (present in bom1)
Note on E46: Item 885-6765034A was removed in bom2 (present in bom1)
Note on E47: Item HUA14593 was removed in bom2 (present in bom1)
Note on E48: Item 803-0468 was removed in bom2 (present in bom1)
Note on E49: Item 803-0984 was removed in bom2 (present in bom1)
Note on E50: Item 21380151 was removed in bom2 (present in bom1)
Note on E51: Item 25274102 was removed in bom2 (present in bom1)
Note on E52: Item 25274103 was removed in bom2 (present in bom1)
Note on E53: Item 21253110 was removed in bom2 (present in bom1)
Note on E54: Item 21130006 was removed in bom2 (present in bom1)
Note on E55: Item 861-0381 was removed in bom2 (present in bom1)
Note on E56: Item HUA14612 was removed in bom2 (present in bom1)
Note on E57: Item HUA14672 was removed in bom2 (present in bom1)
Note on E58: Item HUA11406 was removed in bom2 (present in bom1)
Note on E59: Item HUA12757 was removed in bom2 (present in bom1)
Note on E60: Item HUA11450 was removed in bom2 (present in bom1)
Note on E61: Item HUA12624 was removed in bom2 (present in bom1)
Note on E62: Item 21380186 was removed in bom2 (present in bom1)
Note on E63: Item 21542188 was removed in bom2 (present in bom1)
Note on E64: Item HUA12780 was removed in bom2 (present in bom1)
Note on E65: Item HUA12053 was removed in bom2 (present in bom1)
Note on E66: Item 803-1200A was removed in bom2 (present in bom1)
Note on E67: Item 870-3402013900AE was removed in bom2 (present in bom1)
Note on E68: Item 872-0953 was removed in bom2 (present in bom1)
Note on E69: Item HUA12587 was removed in bom2 (present in bom1)
Note on E70: Item HUA12746 was removed in bom2 (present in bom1)
Note on E71: Item 811-0063 was removed in bom2 (present in bom1)